## Sheet1
SLCFaultid | SLCFaultName | SLCFaultDescription | SLCFaultSeverity | Other | gf | Phase 1 | Phase 3
1 | fault_ov | Over Voltage | High | 1 | 0 | 1 | 1
2 | fault_uv | Under Voltage | High | 1 | 0 | 1 | 1
3 | fault_ol | Over Load | High | 1 | 0 | 1 | 1
4 | fault_ul | Under Load | High | 1 | 0 | 1 | 1
5 | fault_of | Over Frequency | High | 1 | 0 | 1 | 1
6 | fault_uf | Under Frequency | High | 1 | 0 | 1 | 1
7 | fault_ot | Over Temperature | High | 1 | 0 | 1 | 1
8 | fault_gf | Grouf Group Failure | High | 0 | 1 | 1 | 1
9 | fault_pd | Power Down | High | 1 | 0 | 1 | 1
10 | fault_pu | Power Up | High | 1 | 0 | 1 | 1
11 | fault_zv | Power Fail | High | 1 | 0 | 1 | 1
12 | fault_nv | NV Fault | High | 1 | 0 | 1 | 1
13 | aux1 | R I/P MCB Trip | High | 1 | 0 | 1 | 1
14 | aux2 | Y I/P MCB Trip | High | 1 | 0 | 0 | 1
15 | aux3 | B I/P MCB Trip | High | 1 | 0 | 0 | 1
16 | aux4 | R O/P MCP Trip | High | 1 | 0 | 1 | 1
17 | aux5 | Y O/P MCP Trip | High | 1 | 0 | 0 | 1
18 | aux6 | B O/P MCP Trip | High | 1 | 0 | 0 | 1
19 | aux7 | Contactor Failure | High | 1 | 0 | 1 | 1
20 | aux8 | Panel Door Open | High | 1 | 0 | 1 | 1
21 | r_failure | R Failure | High | 1 | 0 | 1 | 1
22 | y_failure | Y Failure | High | 1 | 0 | 0 | 1
25 | b_failure | Y Failure | High | 1 | 0 | 0 | 1
26 | n | N failure | High | 1 | 0 | 1 | 1
27 | s1 | s1 failure | High | 1 | 0 | 1 | 1
28 | s2 | s2 failure | High | 1 | 0 | 1 | 1
29 | s3 | s3 failure | High | 1 | 0 | 1 | 1
30 | s4 | s4 failure | High | 1 | 0 | 1 | 1
31 | boost | boost failure | High | 1 | 0 | 1 | 1
32 | r | R Phase | High | 0 | 0 | 1 | 1
33 | y | Y Phase | High | 0 | 0 | 1 | 1
34 | B | B Phase | High | 0 | 0 | 1 | 1