## Sheet1
slcFaultValuesId | slcFaultId | Value | Description
1 | 1 | 0 | Over Voltage Fixed
2 | 1 | 1 | Over Voltage Occurred
3 | 2 | 0 | Under Voltage Fixed
4 | 2 | 1 | Under Voltage Occurred
5 | 3 | 0 | Over Load Fixed
6 | 3 | 1 | Over Load Occurred
7 | 4 | 0 | Under Load Fixed
8 | 4 | 1 | Under Load Occurred
9 | 5 | 0 | Over Frequency Fixed
10 | 5 | 1 | Over Frequency Occurred
11 | 6 | 0 | Under Frequency Fixed
12 | 6 | 1 | Under Frequency Occurred
13 | 7 | 0 | Over Temperature Fixed
14 | 7 | 1 | Over Temperature Occurred
15 | 8 | 0 | Group Failure Fixed
16 | 8 | 1 | Group Failure Occurred
17 | 9 | 0 | Power Down Fixed
18 | 9 | 1 | Power Down Occurred
19 | 10 | 0 | Power Up Fixed
20 | 10 | 1 | Power Up Occurred
21 | 11 | 0 | Power Fail Fixed
22 | 11 | 1 | Power Fail Occurred
23 | 12 | 0 | NV Fault Fixed
24 | 12 | 1 | NV Fault Occurred
25 | 13 | 0 | R I/P MCB Trip Fixed
26 | 13 | 1 | R I/P MCB Trip Occurred
27 | 14 | 0 | Y I/P MCB Trip Fixed
28 | 14 | 1 | Y I/P MCB Trip Occurred
29 | 15 | 0 | B I/P MCB Trip Fixed
30 | 15 | 1 | B I/P MCB Trip Occurred
31 | 16 | 0 | R O/P MCB Trip Fixed
32 | 16 | 1 | R O/P MCB Trip Occurred
33 | 17 | 0 | Y O/P MCB Trip Fixed
34 | 17 | 1 | Y O/P MCB Trip Occurred
35 | 18 | 0 | B O/P MCB Trip Fixed
36 | 18 | 1 | B O/P MCB Trip Occurred
37 | 19 | 0 | Contractor Failure Fixed
38 | 19 | 1 | Contractor Failure Occurred
39 | 20 | 0 | Panel Door Open Fixed
40 | 20 | 1 | Panel Door Open Occurred
41 | 21 | 0 | R Failure Fixed
42 | 21 | >0 | R Failure Occurred
43 | 22 | 0 | Y Failure Fixed
44 | 22 | >0 | Y Failure Occurred
45 | 25 | 0 | B Failure Fixed
46 | 25 | >0 | B Failure Occurred
47 | 26 | 0 | n Failure Fixed
48 | 26 | 1 | n Failure Occurred
49 | 27 | 0 | S1 Failure Fixed
50 | 27 | 1 | S1 Failure Occurred
51 | 28 | 0 | S2 Failure Fixed
52 | 28 | 1 | S2 Failure Occurred
53 | 29 | 0 | S3 Failure Fixed
54 | 29 | 1 | S3 Failure Occurred
55 | 30 | 0 | S4 Failure Fixed
56 | 30 | 1 | S4 Failure Occurred
57 | 31 | 0 | Boost Failure Fixed
58 | 31 | 1 | Boost Failure Occurred
59 | 32 | 0 | LED OFF
60 | 32 | 1 | LED ON
61 | 33 | 0 | LED OFF
62 | 33 | 1 | LED ON
63 | 34 | 0 | LED ON
64 | 34 | 1 | LED OFF
64 | 34 | 1 | LED OFF